## Inputs
Sawmill Solar-Hybrid Conversion — Assumptions (edit yellow cells)
Parameter | Value | Note
Current diesel spend per running day (Rs) | 2000 | Your stated figure
Running days per year | 275 | Midpoint of 250-300+
Diesel price (Rs/litre) | 95 | UP, mid-2026
Solar plant size (kWp) | 15 | Sized to ~60 kWh/day load
Peak sun hours/day (annual avg, Ballia) | 4.5 | Lower in monsoon/winter
System losses factor | 80% | Dust, temp, inverter, wiring
Grid/charging + maintenance per year (Rs) | 40000 | Bad-weather grid top-up + O&M
Income tax rate (for depreciation benefit) | 30% | Business slab
Accelerated depreciation rate (Year 1) | 40% | Solar AD, Income Tax Act
CAPITAL COST (BOM)
Solar modules (15 kWp TOPCon) | 255000
Mounting structure + DC cabling + protection | 115000
Hybrid inverter 15 kVA 3-phase | 185000
LFP battery 15 kWh | 420000
Electric motors 18.5 kW + 11 kW | 70000
VFDs (both motors) | 72000
AC panel, changeover, wiring, earthing | 110000
Civil, structure, motor mount/alignment | 45000
Installation & commissioning | 90000
TOTAL CAPEX

## Payback
Savings & Payback
Annual diesel cost (current)
Daily solar generation (kWh)
Annual solar generation (kWh)
Residual grid + maintenance cost/yr
NET ANNUAL SAVING
Total capital cost
Depreciation tax shield (Year 1)
Simple payback (years)
Payback w/ Yr-1 tax shield (years)
10-year net savings
25-year net savings (est, incl. replacements)
Notes: Yellow cells in 'Inputs' are editable — change diesel price, days, battery size, or BOM line items and everything here recalculates. PM Surya Ghar subsidy does NOT apply (residential only). Net metering = minor benefit (daytime self-consumption).